## Slide 1
Design, development and test experiments for the Rearsection of KATRIN
GK Workshop
Bad Liebenzell, 30.9 - 2.10

## Slide 2: Contents
Introduction to KATRIN
Rearsection functions and design
Electron gun design and electromagnetic simulations
E-gun beam detector
Rear Wall qualification and work function measurements
Summary

## Slide 3: Contents
Introduction to KATRIN
Rearsection functions and design
Electron gun design and electromagnetic simulations
E-gun beam detector
Rear Wall qualification and work function measurements
Summary

## Slide 4: Introduction: KATRIN objective
E0 = 18.6 keV
T1/2 = 12.3 y
3H:
Model independent neutrino mass from tritium β-decay kinematics
Sensitivity on mν: 0.2 eV
Only assumption: relativistic energy-momentum relation

## Slide 5: Introduction: KATRIN experimental setup
  Main components:
  WGTS: High-luminosity gaseous tritium source
  DPS, CPS: Pumping sections
  Two electrostatic retarding spectrometers (MAC-E-filters)
  Main detector
  CMS (connected to DPS1-R/WGTS)
CMS
WGTS
DPS2
CPS
Pre- and main spectrometer
Detector
DPS1-F
DPS1-R

## Slide 6: Source and transport section of KATRIN
  STS: Tritium handling, control and monitoring
  “Deliver” decay electrons but nothing else to the spectrometers

## Slide 7: Electron guidance and track manipulation
B-Field: Cyclotron motion
Magnetic flux: Containment
Static E-Field: Acceleration
Adiabatic movement: Conservation of magnetic momentum µ = ET/B
Magnetic dipole fields
B-Field and electric Field: E x B drift
-
-
-
-
+
+
+
+
v
t
e-
B
B
e-
e-
e-
e-

## Slide 8: Electron guidance and track manipulation
B-Field: Cyclotron motion
Magnetic flux: Containment
Static E-Field: Acceleration
Adiabatic movement: Conservation of magnetic momentum µ = ET/B
Magnetic dipole fields
B-Field and electric Field: E x B drift
-
-
-
-
+
+
+
+
v
t
e-
B
B
e-
e-
e-
e-

## Slide 9: Electron guidance and track manipulation
B-Field: Cyclotron motion
Magnetic flux: Containment
Static E-Field: Acceleration
Adiabatic movement: Conservation of magnetic momentum µ = ET/B
Magnetic dipole fields
B-Field and electric Field: E x B drift
-
-
-
-
+
+
+
+
v
t
e-
B
B
e-
e-
e-
e-

## Slide 10: Contents
Introduction to KATRIN
Rearsection functions and design
Electron gun design and electromagnetic simulations
E-gun beam detector
Rear Wall qualification and work function measurements
Summary

## Slide 11: Scheme of the Rearsection
Rear Wall with stable plasma potential and monitoring
Valve, diaphragm and pumping for Tritium reduction at the electron gun
Electron Gun and electromagnetic design with axisymmetric (air-)coils, dipole coils and dipole electrodes leading electrons into DPS1-R
Containment for Tritium safety
DPS-1R 
Rear Wall
TMP
TMP
Diaphragm
Electron Gun
Valve
Rear Wall monitoring
Coils, Dipole Coils and Electrodes
2nd Containment
Valves
Valve
Super-conducting Coil

## Slide 12: Rearsection technical design
Rear Wall
& activity
monitoring
First chamber:
Pumping & sensors
Electron gun chamber
Transport section:
Solenoid, magnetic & electric dipoles
RSCM

## Slide 13: Rearsection vacuum scheme
Pressure monitoring and evacuation of each chamber individually possible
Fore line pressure for TMPs provided by the STS outer loop
Explicit purge gas connection and out baking for UHV

## Slide 14: Contents
Introduction to KATRIN
Rearsection functions and design
Electron gun design and electromagnetic simulations
E-gun beam detector
Rear Wall qualification and work function measurements
Summary

## Slide 15: Electron gun mechanical design (1/2)
Features
High precision E-gun with adjustable angle+energy
Stepper motor + linear feed-through
HV cabling and insulation using off-the-shelf parts
Port for UV-light feed-in available
Ceramic bearings are used for turn-able plates

## Slide 16: Electron gun mechanical design (2/2)
Flexible, modular design with special concern on alignment and HV
Prototype is currently machined and build at UCSB
All dimensions are results of simulations and optimizations with consideration of mechanical stringents

## Slide 17: Electromagnetic transport: Solenoids

## Slide 18: Electromagnetic transport: Dipole coils
E-Gun electrons shifted by electric and magnetic dipoles
Moveable offset aperture to block direct line of sight for T2
Rear Wall hole must be closed during normal KATRIN measurements

## Slide 19: Electromagnetic transport: Dipole electrodes
Reflected electrons get significantly shifted in y-direction, even when reflected at the E-Gun they will certainly not pass the diaphragm again
Overall maximum adiabaticity violation in new design < 1 %

## Slide 20: Contents
Introduction to KATRIN
Rearsection functions and design
Electron gun design and electromagnetic simulations
E-gun beam detector
Rear Wall qualification and work function measurements
Summary

## Slide 21: Electron gun beam path – Beam tracker
To fire the electrons reliable through the small holes in aperture/Rear Wall a sensor is required
The electrons can be shifted up/downwards by dipole electrodes and in all directions by magnetic dipoles
Quadrant detectors with central holes in combination with a trans impedance amplifier can used as sensors

## Slide 22: E-gun beam tracker build
Minimalistic electronics with 4 channel transimpedance amplifier
SMD, silver-palladium circuit print on a Al2O3 ceramic
Electronics proofed to be robust but still sensitive

## Slide 23: E-gun beam tracker results (1/3)
Slow temperature dependent drift (leakage current)
Clear signal jumps when e-gun beam hits the detector

## Slide 24: E-gun beam tracker results (2/3)
Used the dipole coils to „wipe“ over a detector pixel

## Slide 25: E-gun beam tracker results (3/3)
Some dependence of voltage shift and primary electron energy visible – just as predicted by theory.

## Slide 26: Contents
Introduction to KATRIN
Rearsection functions and design
Electron gun design and electromagnetic simulations
E-gun beam detector
Rear Wall qualification and work function measurements
Summary

## Slide 27: Work function measurement with a Kelvin Probe
Homogeneity and stability of work function of the Rear Wall important for KATRIN systematics
Measurement of different samples with a Kelvin probe available at University of Mainz
Kelvin probe can measure scan relative contact potential differences
Source: Dr. Schlaf

## Slide 28: Work function measurements – Results (1/2)
Gold on a 3 inch Silicon wafer
Mean+RMS of Work Function data: 171 +/- 7 mV
Good homogeneity, but silicon is as substrate has disadvantages

## Slide 29: Work function measurements – Results (2/2)
Gold on a beryllium window
Mean+RMS of Work Function data: -12 +/- 26 mV
Result not impressive but encouraging to try other metals as substrate

## Slide 30: Rear Wall baseline & qualification strategy
The current, sophisticated, silicon-based Rear-Wall candidate has remaining risks
Plan to develop a baseline option by gold-coating a pure, appropriate metal
Different metals/coating methods foreseen
Different testing steps with a regular measurement of the work function in between
Testing procedure:
  Cleaning/reproducibility
  Outbaking
  Tritium contamination

## Slide 31: Contents
Introduction to KATRIN
Rearsection functions and design
Electron gun design and electromagnetic simulations
E-gun beam detector
Rear Wall qualification and work function measurements
Summary

## Slide 32: Summary of the Rearsection status
Development of the Rearsection at UCSB got significantly supported with design development and test experiments.
The mechanical design ultimately needed step-by-step checks and development of the electromagnetic design.
Functionality of a quadrant detector based E-gun beam tracker has been proofed. Integration of 2 beam trackers is planned.
The number of Rear Wall candidates characterized by the Kelvin probe increases steadily. It is the first obstacle in a list of qualification tests. Current favorite is gold evaporated on stainless steel.
Thanks for your Attention